## model
CMLP contract w Morgan Stanley – model | kW --> kWh: |  |  |  | tot | heat | @ gas prc (in $/mmBtu)
| (using calculation of hours on second sheet) |  |  |  | kWh | rate | — Sensitivity analysis / Alternate outcomes —
[7 empty] | SENSITIVITY: Total contract |  |  |  |  | SENSITIVITY: Unit price of electricity
[7 empty] | 10% down, from $8.282 (Oct '09 on 10/18/07) | 300% up, from $8.282 (Oct '09 on 10/18/07) |  | if locked at Aug 7 '07 $6.950 (high for that week) | 400% up, from $8.282 (Oct '09 on 10/18/07) | if gas price:10% down | 300% up | 400% up
READ this 'comment' | On-Peak |  | Off-Peak |  | tot | ALTERNATES: | POTENTIAL GAIN | POTENTIAL LOSS |  | COMPARE W SPOT | WORSE LOSS | CMLP electricity cost - in cents per kWh
mo - yr | kW | kWh | kW | kWh | kWh | Btu/kWh
2009-10-01 | 15600 | 5148000 | 9700 | 4015800 | 9163800 | 8.967 | 680546.8029 | 680546.8029 |  | 571093.9725 | 680546.8029 | 7.4265 | 7.4265 | 7.4265
2009-11-01 | 17200 | 5160000 | 9900 | 4158000 | 9318000 | 8.967 | 686231.7652 | 922664.5583 |  | 580703.8167 | 1037997.628 | 7.3646 | 9.902 | 11.1397
2009-12-01 | 21500 | 7095000 | 12300 | 5092200 | 12187200 | 8.967 | 889994.0341 | 1508464.4645 |  | 759514.2257 | 1810157.3574 | 7.3027 | 12.3774 | 14.8529
2010-01-01 | 24200 | 7260000 | 14500 | 6438000 | 13698000 | 9.617 | 1063742.7663 | 2182036.4436 |  | 915548.9787 | 2727545.5545 | 7.7657 | 15.9296 | 19.912
2010-02-01 | 23200 | 6960000 | 14200 | 5282400 | 12242400 | 9.617 | 942579.8484 | 2275192.7374 |  | 818259.3676 | 2925247.8052 | 7.6993 | 18.5845 | 23.8944
2010-03-01 | 19700 | 6796500 | 11400 | 4548600 | 11345100 | 9.617 | 865963.8544 | 2409638.5513 |  | 758285.4956 | 3162650.5986 | 7.6329 | 21.2395 | 27.8768
2010-04-01 | 14400 | 4752000 | 10200 | 3978000 | 8730000 | 9.617 | 660560.6382 | 2085980.9629 | 24.846 | 583497.0495 | 2781307.9505 | 7.5666 | 23.8944 | 31.8592
2010-05-01 | 17100 | 5130000 | 9600 | 4262400 | 9392400 | 9.617 | 704447.4794 | 2244257.4565 | (max gas | 627770.6401 | 2992343.2754 | 7.5002 | 23.8944 | 31.8592
2010-06-01 | 23100 | 7623000 | 12000 | 4680000 | 12303000 | 9.617 | 914581.9855 | 2939727.8105 | price, | 822309.7595 | 3919637.0807 | 7.4338 | 23.8944 | 31.8592
2010-07-01 | 27200 | 8568000 | 15100 | 6477900 | 15045900 | 9.617 | 1108497.5715 | 3595127.2588 | in col K) | 1005640.1211 | 4793503.0117 | 7.3674 | 23.8944 | 31.8592
2010-08-01 | 25300 | 8349000 | 13800 | 5713200 | 14062200 | 9.617 | 1026690.5195 | 3360078.0637 |  | 939891.4329 | 4480104.0849 | 7.3011 | 23.8944 | 31.8592
2010-09-01 | 21300 | 6709500 | 10300 | 4171500 | 10881000 | 9.617 | 787206.9223 | 2599949.4681 |  | 727265.9102 | 3466599.2909 | 7.2347 | 23.8944 | 31.8592
2010-10-01 | 15200 | 4788000 | 10400 | 4461600 | 9249600 | 9.617 | 663040.8768 | 2210136.2559 | 7.4538 | 618226.1522 | 2946848.3412 | 7.1683 | 23.8944 | 31.8592
2010-11-01 | 17600 | 5544000 | 10100 | 4090500 | 9634500 | 9.617 | 690631.7384 | 2302105.7946 | (min gas | 643952.1562 | 3069474.3928 | 7.1683 | 23.8944 | 31.8592
2010-12-01 | 21900 | 7227000 | 12500 | 5175000 | 12402000 | 9.617 | 889014.9794 | 2963383.2648 | price, | 828926.7363 | 3951177.6864 | 7.1683 | 23.8944 | 31.8592
2011-01-01 | 24800 | 7440000 | 14800 | 6571200 | 14011200 | 9.666 | 1009484.9736 | 3364949.9121 | in col J) | 941254.2014 | 4486599.8828 | 7.2048 | 24.0161 | 32.0215
2011-02-01 | 22500 | 6750000 | 14100 | 5245200 | 11995200 | 9.666 | 864235.3371 | 2880784.4571 |  | 805821.9422 | 3841045.9428 | 7.2048 | 24.0161 | 32.0215
2011-03-01 | 21200 | 7314000 | 11200 | 4468800 | 11782800 | 9.666 | 848932.2504 | 2829774.1681 |  | 791553.1864 | 3773032.2241 | 7.2048 | 24.0161 | 32.0215
2011-04-01 | 14000 | 4410000 | 10900 | 4414500 | 8824500 | 9.666 | 635791.3776 | 2119304.592 |  | 592818.4381 | 2825739.456 | 7.2048 | 24.0161 | 32.0215
2011-05-01 | 18400 | 5796000 | 9400 | 4032600 | 9828600 | 9.666 | 708135.207 | 2360450.6899 |  | 660272.5708 | 3147267.5865 | 7.2048 | 24.0161 | 32.0215
2011-06-01 | 23600 | 7788000 | 12200 | 4758000 | 12546000 | 9.666 | 903919.6128 | 3013065.3761 |  | 842823.9702 | 4017420.5014 | 7.2048 | 24.0161 | 32.0215
2011-07-01 | 26500 | 7950000 | 16100 | 7148400 | 15098400 | 9.666 | 1087816.0276 | 3626053.4253 |  | 1014290.8841 | 4834737.9004 | 7.2048 | 24.0161 | 32.0215
2011-08-01 | 28400 | 9798000 | 12900 | 5147100 | 14945100 | 9.666 | 1076771.0031 | 3589236.6772 |  | 1003992.3894 | 4785648.9029 | 7.2048 | 24.0161 | 32.0215
2011-09-01 | 19600 | 6174000 | 11400 | 4617000 | 10791000 | 9.666 | 777474.6168 | 2591582.0559 |  | 724925.3517 | 3455442.7412 | 7.2048 | 24.0161 | 32.0215
2011-10-01 | 15500 | 4882500 | 10600 | 4547400 | 9429900 | 9.666 | 679409.4976 | 2264698.3253 |  | 633488.4231 | 3019597.7671 | 7.2048 | 24.0161 | 32.0215
2011-11-01 | 20000 | 6300000 | 9500 | 3847500 | 10147500 | 9.666 | 731111.4515 | 2437038.1718 |  | 681695.8583 | 3249384.2291 | 7.2048 | 24.0161 | 32.0215
2011-12-01 | 20200 | 6363000 | 13900 | 5963100 | 12326100 | 9.666 | 888076.1629 | 2960253.8763 |  | 828051.3741 | 3947005.1684 | 7.2048 | 24.0161 | 32.0215
2012-01-01 | 26500 | 8347500 | 14400 | 6177600 | 14525100 | 9.998 | 1082455.3694 | 3608184.5647 |  | 1009292.5511 | 4810912.753 | 7.4523 | 24.841 | 33.1214
2012-02-01 | 24200 | 7623000 | 14800 | 5638800 | 13261800 | 9.998 | 988310.3468 | 3294367.8226 |  | 921510.761 | 4392490.4302 | 7.4523 | 24.841 | 33.1214
2012-03-01 | 20600 | 6798000 | 11900 | 4926600 | 11724600 | 9.998 | 873753.4492 | 2912511.4972 |  | 814696.7281 | 3883348.6629 | 7.4523 | 24.841 | 33.1214
2012-04-01 | 14300 | 4504500 | 11200 | 4536000 | 9040500 | 9.998 | 673726.0168 | 2245753.3895 |  | 628189.087 | 2994337.8526 | 7.4523 | 24.841 | 33.1214
2012-05-01 | 19800 | 6534000 | 9200 | 3808800 | 10342800 | 9.998 | 770777.4401 | 2569258.1336 |  | 718680.8351 | 3425677.5114 | 7.4523 | 24.841 | 33.1214
2012-06-01 | 22900 | 7213500 | 13100 | 5305500 | 12519000 | 9.998 | 932954.5938 | 3109848.6459 |  | 869896.4859 | 4146464.8611 | 7.4523 | 24.841 | 33.1214
2012-07-01 | 25800 | 8127000 | 17200 | 7378800 | 15505800 | 9.998 | 1155540.1661 | 3851800.5538 |  | 1077437.5694 | 5135734.0717 | 7.4523 | 24.841 | 33.1214
2012-08-01 | 29000 | 10005000 | 13200 | 5266800 | 15271800 | 9.998 | 1138101.7625 | 3793672.5417 |  | 1061177.822 | 5058230.0556 | 7.4523 | 24.841 | 33.1214
2012-09-01 | 20000 | 5700000 | 11700 | 5089500 | 10789500 | 9.998 | 804066.9054 | 2680223.0182 |  | 749720.276 | 3573630.6909 | 7.4523 | 24.841 | 33.1214
2012-10-01 | 16600 | 5727000 | 10400 | 4149600 | 9876600 | 9.998 | 736034.7744 | 2453449.248 |  | 686286.4153 | 3271265.664 | 7.4523 | 24.841 | 33.1214
2012-11-01 | 19400 | 6111000 | 10100 | 4090500 | 10201500 | 9.998 | 760247.3271 | 2534157.7571 |  | 708862.4492 | 3378877.0094 | 7.4523 | 24.841 | 33.1214
2012-12-01 | 20700 | 6210000 | 14200 | 6304800 | 12514800 | 9.998 | 932641.5968 | 3108805.3226 |  | 869604.6443 | 4145073.7634 | 7.4523 | 24.841 | 33.1214
TOT contract | [6 empty] | 33633499.0486 | 104478514.1155 |  | 30837230.0286 | 138344106.49
Note on A5: David Allen: The purpose of this model is to bracket potential gains and losses. Though linking to realtime futures prices is possible, it is not necessary to get the essential insight from the model. Instead, prices that serve as an index can achieve the model's purpose with effect. A recent Oct '09 price is one index; another is spot on Aug 7. (Of course the point of the model is to allow 'what-if's,' as may be desired. Please do so use.) Any triggers from a month-to-month 'risk management' algorithm either do not occur, or have effect only de minimus.
Note on J5: David Allen: Gas price declines by 10%, over 12 months, and stays there.
Note on K5: David Allen: Gas price increases by 300%, over 6 months, and stays there.
Note on M5: David Allen: Though the contract process did not offer an option to buy at today's spot, the comparison of spot with the futures contract actually taken is informative.
Note on N5: David Allen: Gas price increases by 400%, over 6 months, and stays there.
Note on O3: David Allen: for this 55%

## hours
yr - mo | days in | weekend | holidays | tot | mixed | on peak | off peak |  | period
| month | days |  | all-off peak | days | hours | hours | CHECK | number
days
2009-10-01 | 31 | 9 |  | 9 | 22 | 330 | 414 | 31 | 0
2009-11-01 | 30 | 9 | 1 | 10 | 20 | 300 | 420 | 30 | 1
2009-12-01 | 31 | 8 | 1 | 9 | 22 | 330 | 414 | 31 | 2
2010-01-01 | 31 | 10 | 1 | 11 | 20 | 300 | 444 | 31 | 3
2010-02-01 | 28 | 8 |  | 8 | 20 | 300 | 372 | 28 | 4
2010-03-01 | 31 | 8 |  | 8 | 23 | 345 | 399 | 31 | 5
2010-04-01 | 30 | 8 |  | 8 | 22 | 330 | 390 | 30 | 6
2010-05-01 | 31 | 10 | 1 | 11 | 20 | 300 | 444 | 31 | 7
2010-06-01 | 30 | 8 |  | 8 | 22 | 330 | 390 | 30 | 8
2010-07-01 | 31 | 9 | 1 | 10 | 21 | 315 | 429 | 31 | 9
2010-08-01 | 31 | 9 |  | 9 | 22 | 330 | 414 | 31 | 10
2010-09-01 | 30 | 8 | 1 | 9 | 21 | 315 | 405 | 30 | 11
2010-10-01 | 31 | 10 |  | 10 | 21 | 315 | 429 | 31 | 12
2010-11-01 | 30 | 8 | 1 | 9 | 21 | 315 | 405 | 30
2010-12-01 | 31 | 8 | 1 | 9 | 22 | 330 | 414 | 31
2011-01-01 | 31 | 10 | 1 | 11 | 20 | 300 | 444 | 31
2011-02-01 | 28 | 8 |  | 8 | 20 | 300 | 372 | 28
2011-03-01 | 31 | 8 |  | 8 | 23 | 345 | 399 | 31
2011-04-01 | 30 | 9 |  | 9 | 21 | 315 | 405 | 30
2011-05-01 | 31 | 9 | 1 | 10 | 21 | 315 | 429 | 31
2011-06-01 | 30 | 8 |  | 8 | 22 | 330 | 390 | 30
2011-07-01 | 31 | 10 | 1 | 11 | 20 | 300 | 444 | 31
2011-08-01 | 31 | 8 |  | 8 | 23 | 345 | 399 | 31
2011-09-01 | 30 | 8 | 1 | 9 | 21 | 315 | 405 | 30
2011-10-01 | 31 | 10 |  | 10 | 21 | 315 | 429 | 31
2011-11-01 | 30 | 8 | 1 | 9 | 21 | 315 | 405 | 30
2011-12-01 | 31 | 9 | 1 | 10 | 21 | 315 | 429 | 31
2012-01-01 | 31 | 9 | 1 | 10 | 21 | 315 | 429 | 31
2012-02-01 | 29 | 8 |  | 8 | 21 | 315 | 381 | 29
2012-03-01 | 31 | 9 |  | 9 | 22 | 330 | 414 | 31
2012-04-01 | 30 | 9 |  | 9 | 21 | 315 | 405 | 30
2012-05-01 | 31 | 8 | 1 | 9 | 22 | 330 | 414 | 31
2012-06-01 | 30 | 9 |  | 9 | 21 | 315 | 405 | 30
2012-07-01 | 31 | 9 | 1 | 10 | 21 | 315 | 429 | 31
2012-08-01 | 31 | 8 |  | 8 | 23 | 345 | 399 | 31
2012-09-01 | 30 | 10 | 1 | 11 | 19 | 285 | 435 | 30
2012-10-01 | 31 | 8 |  | 8 | 23 | 345 | 399 | 31
2012-11-01 | 30 | 8 | 1 | 9 | 21 | 315 | 405 | 30
2012-12-01 | 31 | 10 | 1 | 11 | 20 | 300 | 444 | 31